# 5.1 Why Signals are Filtered

Duration: ~8 Minutes

## 5.1.1 Introduction

In an ideal world, every neural recording would contain only the physiological signal that we wish to study. Unfortunately, this is rarely the case.

Whether we record EEG, EMG, ECoG, or microelectrode signals, the acquired waveform usually contains not only the biological signal of interest but also unwanted electrical activity originating from various sources.

These unwanted components may arise from electrical equipment, movement of the subject, muscle activity, poor electrode contact, or the surrounding environment.

If these unwanted signals are not removed, they can make interpretation difficult and reduce the accuracy of subsequent analyses.

This is why signal filtering is an essential step in neural signal processing.

## 5.1.2 Learning Objectives

After completing this section, you should be able to:

- Explain why filtering is necessary.

- Distinguish between the signal of interest and unwanted noise.

- Understand the purpose of filtering in neural signal processing.

# 5.1.3 What is Signal Filtering?

### Definition

Signal filtering is the process of selectively removing unwanted frequency components from a recorded signal while preserving the information that is relevant for analysis.

### Lecture

Filtering does not create new information.

Instead, it improves the quality of the recorded signal by reducing components that are unlikely to contain useful physiological information.

Consider an EEG recording.

The recording contains the electrical activity generated by the brain, which is the signal we are interested in studying. However, the same recording may also contain slow baseline drift, electrical interference from nearby equipment, muscle activity from the face or neck, and power-line interference.

If all of these components remain in the recording, identifying meaningful brain activity becomes much more difficult.

Filtering helps separate the signal of interest from these unwanted components.

It is important to remember that filtering is a selective process. A properly designed filter removes only those components that are considered undesirable while preserving the physiological information needed for analysis.

### Key Definition

Signal Filtering: The process of preserving useful signal components while attenuating unwanted components.

# 5.1.4 Why Do Neural Signals Need Filtering?

Neural recordings are highly susceptible to contamination because biological signals are extremely small.

Even minor electrical disturbances can produce voltage changes that are comparable to or larger than the neural signal itself.

Some common reasons for filtering include:

- Removing slow baseline drift.

- Reducing high-frequency electrical noise.

- Eliminating power-line interference.

- Improving the signal-to-noise ratio.

- Preparing signals for feature extraction and analysis.

Filtering therefore serves as an essential preprocessing step before most signal-processing techniques are applied.

# 5.1.5 Signal Versus Noise

Before applying any filter, it is important to distinguish between two concepts.

Signal

The signal refers to the physiological activity that we want to analyse.

Examples include:

- Brain activity in EEG.

- Muscle activity in EMG.

- Local field potentials.

- Neural spikes.

Noise

Noise refers to unwanted components that interfere with the signal of interest.

Examples include:

- Electrical interference.

- Motion artefacts.

- Muscle artefacts in EEG.

- Baseline drift.

- Power-line interference.

The objective of filtering is not to remove everything except the desired waveform.

Rather, the objective is to improve the visibility of the physiological signal while preserving its important characteristics.

# 5.1.6 Important Considerations

Filtering should always be performed carefully.

A filter that is too aggressive may remove important physiological information along with the unwanted noise.

Conversely, a filter that is too weak may fail to remove sufficient interference.

Therefore, selecting an appropriate filter requires an understanding of both the signal being recorded and the type of unwanted components present in the recording.

This is why different neural recording applications often use different filtering strategies.

## 5.1.7 Summary

In this section, we introduced the concept of signal filtering.

We learned that neural recordings usually contain both useful physiological information and unwanted electrical components. Filtering improves signal quality by selectively reducing unwanted components while preserving the information relevant for analysis.

Understanding why filtering is necessary provides the foundation for studying the different types of filters introduced in the following sections.

## Transition to Section 5.2

Now that we understand why neural signals are filtered, the next question is:

How does a filter decide which parts of the signal to keep and which parts to remove?

To answer this, we begin with one of the simplest and most widely used filters in signal processing—the Low-pass Filter.