# 7.1 Electroencephalography (EEG)

Duration: ~18 Minutes

# 7.1.1 Introduction to EEG Applications

## Introduction

Throughout this course, EEG has served as one of our primary examples for understanding neural signal processing. We learned how EEG signals are generated, how they are recorded using scalp electrodes, how they are filtered to remove unwanted noise, and how they can be analysed in both the time and frequency domains.

The next question is a practical one.

How is EEG used in neuroscience and clinical practice?

Because EEG measures the electrical activity of large populations of cortical neurons with excellent temporal resolution, it provides valuable information about the dynamic activity of the brain.

Today, EEG is one of the most widely used non-invasive techniques in neuroscience. It supports both scientific research and clinical diagnosis, with applications ranging from monitoring normal brain function to assisting individuals with severe motor impairments.

In this section, we will explore four major application areas of EEG:

- Studying brain states.

- Sleep staging.

- Epilepsy diagnosis and monitoring.

- Brain–computer interfaces.

Although these applications differ in their objectives, they all rely on the same principles of neural signal acquisition and signal processing that we have studied throughout this course.

## Learning Objectives

After completing this section, you should be able to:

- Explain why EEG is widely used in neuroscience.

- Describe the major application areas of EEG.

- Relate EEG applications to the signal-processing techniques learned in earlier modules.

- Understand how EEG contributes to research, diagnosis, and assistive technologies.

## Why is EEG So Widely Used?

Several characteristics make EEG one of the most valuable tools in neuroscience.

First, EEG is non-invasive, meaning that electrodes are placed on the scalp without requiring surgery.

Second, EEG provides excellent temporal resolution, allowing neural activity to be observed on the order of milliseconds. This makes it particularly useful for studying rapidly changing brain processes.

Third, EEG systems are relatively affordable, portable, and suitable for long-duration recordings, enabling their use in hospitals, research laboratories, and even home-based monitoring systems.

Finally, EEG records the ongoing electrical activity of the brain continuously, making it possible to study both spontaneous brain activity and responses to external events.

These advantages explain why EEG has become one of the most commonly used neural recording techniques in both neuroscience research and clinical practice.

## Connecting EEG to Neural Signal Processing

It is important to recognise that EEG applications do not rely solely on the recorded waveform.

Instead, meaningful information is extracted through signal processing.

For example:

- Filters remove unwanted electrical interference.

- Spectral analysis identifies dominant frequency bands.

- Spectrograms reveal how neural oscillations change over time.

- Wavelet analysis detects transient neural events.

- Event-related potential analysis measures the brain's response to specific stimuli.

Thus, every application discussed in this section builds upon the concepts developed throughout the earlier modules of this course.

## Summary

EEG is far more than a method for recording electrical activity from the scalp.

It is a versatile tool that enables researchers and clinicians to study brain function, diagnose neurological disorders, monitor physiological states, and develop assistive technologies.

In the following sections, we will examine four important applications of EEG and understand how neural signal processing enables each of these applications.

## Transition to Section 7.1.2

One of the most fundamental applications of EEG is the study of brain states.

The electrical activity of the brain changes continuously depending on whether a person is awake, relaxed, concentrating, or asleep.

By analysing these changes, researchers can gain valuable insights into normal brain function and behaviour.

In the next section, we will examine how EEG is used to study different brain states.

# 7.1.2 EEG for Studying Brain States

Duration: ~5 Minutes

# Introduction

The human brain is never truly at rest.

Even in the absence of external stimulation, billions of neurons continue to communicate, producing continuous electrical activity. However, this activity is not constant. It changes depending on a person's behavioural and cognitive state.

For example, the electrical activity recorded while a person is awake and solving a mathematical problem is different from the activity recorded while the same person is relaxed with their eyes closed or sleeping.

These different patterns of neural activity are referred to as brain states.

One of the major applications of EEG is the identification and study of these brain states.

# Learning Objectives

After completing this section, you should be able to:

- Explain what is meant by a brain state.

- Describe how EEG is used to study changes in brain activity.

- Understand the relationship between EEG rhythms and behavioural states.

- Appreciate the role of signal processing in brain-state analysis.

# What Are Brain States?

### Definition

A brain state refers to the overall pattern of neural activity associated with a particular behavioural, cognitive, or physiological condition.

### Lecture

The activity of the brain changes continuously throughout the day.

When we are relaxed, attentive, solving problems, or sleeping, different groups of neurons become active.

These changes produce different electrical patterns that can be recorded using EEG.

Because EEG measures the synchronized activity of large populations of cortical neurons with millisecond temporal resolution, it is particularly well suited for monitoring these dynamic changes in brain activity.

Rather than focusing on the activity of individual neurons, EEG provides a global view of the functional state of the brain.

# EEG Rhythms and Brain States

One of the most common ways to study brain states is by analysing the frequency content of the EEG signal.

Different behavioural states are often associated with changes in the relative strength of specific EEG frequency bands.

For example:

- Delta activity is commonly observed during deep sleep.

- Theta activity is often associated with drowsiness and certain memory-related processes.

- Alpha activity becomes prominent when a person is awake, relaxed, and has their eyes closed.

- Beta activity is generally stronger during active thinking and focused attention.

- Gamma activity has been associated with higher cognitive processing and information integration.

Rather than appearing independently, these rhythms continuously change as brain activity evolves.

(Insert Figure 7.1: EEG recordings showing changes in dominant frequency bands across different behavioural states.)

# Role of Signal Processing

The raw EEG waveform alone does not always make these changes obvious.

Signal processing techniques are therefore used to identify and quantify changes in neural activity.

Some commonly used techniques include:

- Band-pass filtering to isolate specific EEG frequency bands.

- Spectral analysis to measure the power within each frequency band.

- Spectrograms to visualise how brain rhythms change over time.

- Wavelet analysis to detect transient changes in oscillatory activity.

These techniques allow researchers to move beyond visual inspection and objectively analyse changes in brain state.

# Applications in Neuroscience

Studying brain states using EEG has numerous applications in neuroscience and clinical practice.

Some important examples include:

### Cognitive Neuroscience

Researchers investigate how attention, memory, language, and decision-making influence neural activity by comparing EEG recordings across different cognitive tasks.

### Mental Workload Assessment

Changes in EEG activity can provide information about mental effort, fatigue, and sustained attention during complex tasks.

### Consciousness Research

EEG is widely used to study transitions between wakefulness, sleep, anaesthesia, and altered states of consciousness.

### Neurofeedback

Real-time EEG measurements can be used to provide feedback to individuals, allowing them to learn to voluntarily regulate aspects of their own brain activity.

# Advantages of EEG for Brain-State Analysis

EEG offers several advantages for studying brain states.

- Excellent temporal resolution.

- Non-invasive recording.

- Continuous monitoring of brain activity.

- Suitable for long-duration recordings.

- Compatible with real-time signal processing.

These characteristics make EEG one of the most widely used tools for monitoring dynamic changes in brain function.

### Important Note

Brain states are not identified from a single EEG sample.

Instead, they are determined by analysing patterns of neural activity over time using signal processing techniques such as spectral analysis, spectrograms, and time–frequency analysis.

# Summary

In this section, we learned that EEG provides a powerful method for studying changes in brain states.

Different behavioural and cognitive conditions produce characteristic patterns of neural activity, which can be analysed using frequency-domain and time–frequency signal processing techniques.

Because EEG combines excellent temporal resolution with non-invasive recording, it has become one of the most important tools for investigating dynamic brain function.

## Transition to Section 7.1.3

One of the most important examples of brain-state analysis is the study of sleep.

As a person progresses through different stages of sleep, characteristic changes occur in the EEG signal.

These changes allow researchers and clinicians to identify sleep stages, evaluate sleep quality, and diagnose sleep disorders.

In the next section, we will explore how EEG is used for sleep staging.

# 7.1.3 EEG for Sleep Staging

Duration: ~5 Minutes

# 7.1.3.1 Introduction

Sleep is one of the most important physiological processes of the human body. Although we appear inactive during sleep, the brain remains highly active, and its electrical activity changes continuously throughout the night.

These changes are reflected in the EEG signal.

By analysing characteristic patterns in the EEG, researchers and clinicians can determine the stage of sleep a person is experiencing at any given time. This process is known as sleep staging.

Sleep staging is one of the most common clinical applications of EEG and plays an important role in sleep research and the diagnosis of sleep disorders.

# Learning Objectives

After completing this section, you should be able to:

- Explain what sleep staging is.

- Describe how EEG changes during different stages of sleep.

- Understand the role of signal processing in sleep-stage classification.

- Recognise the clinical importance of EEG-based sleep analysis.

# What is Sleep Staging?

### Definition

Sleep staging is the process of identifying different stages of sleep by analysing physiological signals, particularly the EEG.

### Lecture

Sleep is not a single, uniform state.

Instead, it consists of a sequence of stages, each characterized by distinct patterns of brain activity.

As a person progresses from wakefulness to deep sleep and eventually to Rapid Eye Movement (REM) sleep, the electrical activity recorded by EEG changes in a predictable manner.

These characteristic EEG patterns allow clinicians to determine the current stage of sleep.

Because EEG directly reflects cortical activity with high temporal resolution, it is considered one of the most important signals used in sleep analysis.

# Sleep Stages and EEG

Sleep is broadly divided into two major categories:

- Non-Rapid Eye Movement (NREM) Sleep

- Rapid Eye Movement (REM) Sleep

NREM sleep is further divided into several stages that represent progressively deeper levels of sleep.

Each stage is associated with characteristic EEG activity.

### Wakefulness

During wakefulness, EEG typically contains relatively faster activity.

When a person is relaxed with their eyes closed, alpha rhythms are often prominent.

### Light Sleep

As the individual enters light sleep, alpha activity gradually decreases and slower rhythms begin to appear.

### Deep Sleep

Deep sleep is characterized by slow, high-amplitude EEG activity, with delta waves becoming dominant.

This stage is considered important for physical recovery and restorative processes.

### REM Sleep

During REM sleep, EEG activity becomes more irregular and resembles wakefulness in many respects.

Although the brain is highly active during this stage, voluntary skeletal muscles remain largely inactive.

REM sleep is strongly associated with vivid dreaming and memory consolidation.

(Insert Figure 7.2: Representative EEG waveforms illustrating wakefulness, light sleep, deep sleep, and REM sleep.)

# Role of Signal Processing

Sleep staging is no longer performed solely by visual inspection.

Modern sleep analysis relies heavily on neural signal processing.

Several techniques introduced in earlier modules are commonly used.

### Filtering

Filtering removes unwanted noise and artefacts from the EEG before further analysis.

### Spectral Analysis

The power within different EEG frequency bands is calculated to identify characteristic changes associated with different sleep stages.

### Spectrograms

Spectrograms provide a visual representation of how EEG frequency content changes throughout the night.

They allow clinicians to observe transitions between different sleep stages.

### Feature Extraction and Classification

Quantitative features extracted from the EEG can be used by machine learning algorithms to automatically classify sleep stages.

# Clinical Applications

EEG-based sleep staging has numerous clinical and research applications.

### Sleep Disorder Diagnosis

EEG helps clinicians evaluate disorders such as insomnia, narcolepsy, and other abnormalities affecting normal sleep patterns.

### Sleep Quality Assessment

Researchers analyse EEG recordings to evaluate sleep quality and investigate how sleep changes with age, disease, or medication.

### Neuroscience Research

Sleep staging provides valuable information about memory consolidation, learning, brain development, and cognitive function during sleep.

### Automated Sleep Monitoring

Modern wearable and laboratory-based systems increasingly use signal-processing algorithms to perform automatic sleep-stage classification.

# Advantages of EEG for Sleep Staging

EEG is particularly well suited for sleep analysis because it:

- Directly measures brain activity.

- Provides excellent temporal resolution.

- Clearly distinguishes different sleep stages.

- Supports both manual and automated sleep scoring.

- Can be combined with other physiological signals such as EOG and EMG during polysomnography.

### Important Note

Sleep staging is not based on a single EEG waveform.

It is determined by analysing EEG activity over time together with characteristic frequency patterns and, in many clinical settings, additional physiological signals such as EOG and EMG.

# Summary

In this section, we explored one of the most important clinical applications of EEG—sleep staging.

We learned that sleep consists of multiple stages, each characterized by distinct patterns of neural activity.

By applying signal processing techniques such as filtering, spectral analysis, and spectrogram analysis, EEG recordings can be used to identify these stages, assess sleep quality, and support the diagnosis of sleep disorders.

## Transition to Section 7.1.4

Sleep staging demonstrates how EEG can be used to study normal brain function.

However, EEG is equally valuable for detecting abnormal neural activity.

One of its most important clinical applications is the diagnosis and monitoring of epilepsy, where characteristic electrical discharges provide crucial information for patient evaluation and treatment planning.

In the next section, we will examine how EEG is used in epilepsy diagnosis and monitoring.

# 7.1.4 EEG for Epilepsy

Duration: ~5 Minutes

# 7.1.4.1 Introduction

Epilepsy is one of the most common neurological disorders, affecting millions of people worldwide. It is characterized by recurrent seizures that result from abnormal, excessive, or synchronous electrical activity in the brain.

Because EEG records the brain's electrical activity directly and with excellent temporal resolution, it has become one of the primary tools used to evaluate patients with epilepsy.

EEG not only helps detect abnormal electrical activity but also assists clinicians in identifying the type of seizure, determining the region of the brain involved, monitoring treatment, and supporting surgical planning.

# Learning Objectives

After completing this section, you should be able to:

- Explain why EEG is important in epilepsy.

- Describe how epileptic activity appears in EEG recordings.

- Understand the role of signal processing in epilepsy analysis.

- Recognise the clinical applications of EEG in epilepsy diagnosis and monitoring.

# Understanding Epilepsy

### Definition

Epilepsy is a neurological disorder characterized by recurrent seizures caused by abnormal electrical activity within the brain.

### Lecture

Under normal conditions, neurons communicate through organized electrical activity.

In epilepsy, this normal activity is temporarily disrupted by excessive and highly synchronized firing of groups of neurons.

This abnormal activity produces distinctive electrical patterns that can often be observed in EEG recordings.

The appearance of these abnormal patterns depends on the type of epilepsy, the brain regions involved, and whether the seizure activity is localized or widespread.

Because seizures are fundamentally electrical events, EEG provides valuable information that cannot be obtained from structural brain imaging alone.

# EEG Findings in Epilepsy

One of the major strengths of EEG is its ability to record abnormal electrical discharges associated with epilepsy.

Some characteristic EEG findings include:

- Epileptic spikes

- Sharp waves

- Spike-and-wave complexes

- Rhythmic seizure activity

These patterns provide important evidence that helps clinicians evaluate and classify epileptic disorders.

(Insert Figure 7.3: Example EEG recording showing normal activity and an epileptic spike-and-wave discharge.)

# Role of Signal Processing

Raw EEG recordings often contain noise, eye movement artefacts, muscle activity, and other unwanted signals.

Signal processing techniques help improve recording quality and assist in identifying abnormal neural activity.

Some commonly used techniques include:

### Filtering

Filtering removes unwanted electrical interference while preserving clinically important EEG activity.

### Time-Domain Analysis

Epileptic spikes and sharp waves can be detected by analysing changes in the EEG waveform over time.

### Time–Frequency Analysis

Spectrograms and wavelet analysis allow clinicians and researchers to examine how seizure-related frequency components evolve before, during, and after a seizure.

These techniques are particularly useful because seizure activity changes dynamically over time.

### Automated Detection

Modern signal-processing algorithms and machine learning methods can automatically identify abnormal EEG patterns and assist clinicians in seizure detection.

Although these systems support clinical decision-making, they complement rather than replace expert interpretation.

# Clinical Applications

EEG plays an important role throughout the management of epilepsy.

### Diagnosis

EEG helps identify abnormal electrical activity that supports the diagnosis of epilepsy.

### Seizure Classification

Different seizure types produce different EEG patterns.

These recordings help clinicians classify seizures and guide treatment decisions.

### Monitoring Treatment

Repeated EEG recordings can be used to monitor disease progression and evaluate the effectiveness of anti-seizure medications.

### Presurgical Evaluation

For patients whose seizures cannot be controlled with medication, EEG contributes to identifying the region of the brain where seizures originate.

This information may be combined with other imaging techniques during surgical planning.

# Advantages of EEG in Epilepsy

EEG offers several important advantages for epilepsy evaluation.

- Direct measurement of brain electrical activity.

- Excellent temporal resolution.

- Non-invasive and widely available.

- Useful for long-term monitoring.

- Supports both visual interpretation and automated analysis.

### Important Note

A normal EEG does not necessarily rule out epilepsy.

Some individuals with epilepsy may have normal EEG recordings between seizures.

For this reason, EEG findings are always interpreted together with the patient's clinical history, observed symptoms, and, when necessary, additional diagnostic investigations.

# Summary

In this section, we examined one of the most important clinical applications of EEG—the diagnosis and monitoring of epilepsy.

We learned that epilepsy is associated with abnormal electrical activity in the brain, which can often be detected using EEG.

Signal processing techniques such as filtering, time-domain analysis, time–frequency analysis, and automated detection methods improve the identification and interpretation of seizure-related activity.

Together, these techniques support diagnosis, treatment planning, long-term monitoring, and epilepsy research.

## Transition to Section 7.1.5

So far, we have explored how EEG helps us understand normal brain function through brain-state analysis and sleep staging, and how it supports the diagnosis of neurological disorders such as epilepsy.

EEG is also used in a very different and rapidly growing field.

Instead of simply observing brain activity, researchers can use EEG signals to control external devices such as computers, wheelchairs, robotic arms, and communication systems.

This technology is known as the Brain–Computer Interface (BCI), and it will be the focus of the next section.

# 7.1.5 EEG in Brain–Computer Interfaces (BCIs)

Duration: ~5 Minutes

# 7.1.5.1 Introduction

So far, we have explored how EEG is used to observe and understand brain activity in applications such as brain-state monitoring, sleep staging, and epilepsy diagnosis.

In these applications, EEG serves as a tool for measuring neural activity.

However, EEG can also be used in a very different way.

Instead of simply recording brain activity, EEG signals can be translated into commands that allow a person to interact with external devices.

This technology is known as a Brain–Computer Interface, or BCI.

A Brain–Computer Interface establishes a direct communication pathway between the brain and an external system, enabling users to control computers, wheelchairs, robotic devices, or communication systems using their brain activity.

# Learning Objectives

After completing this section, you should be able to:

- Define a Brain–Computer Interface (BCI).

- Explain the role of EEG in BCI systems.

- Understand the major stages of EEG-based BCI signal processing.

- Describe common applications of EEG-based BCIs.

# What is a Brain–Computer Interface?

### Definition

A Brain–Computer Interface (BCI) is a system that acquires brain signals, processes them, and converts them into commands that control an external device.

### Lecture

Unlike traditional computer interfaces that rely on muscles for communication, such as using a keyboard, mouse, or touchscreen, a BCI uses brain activity directly.

The system continuously records EEG signals, extracts meaningful information, interprets the user's intention, and translates that information into commands that operate an external device.

For example, a user may imagine moving their left or right hand.

Although no physical movement occurs, the corresponding changes in EEG activity can be detected and classified.

The computer then converts these neural signals into control commands.

In this way, EEG enables direct interaction between the user and the external system.

### Key Definition

Brain–Computer Interface (BCI): A system that converts brain activity into commands for communication or device control.

# How Does an EEG-Based BCI Work?

An EEG-based BCI consists of several processing stages.

### Step 1 – Signal Acquisition

EEG electrodes record the electrical activity of the brain.

### Step 2 – Preprocessing

Filtering and artefact removal reduce unwanted noise and improve signal quality.

### Step 3 – Feature Extraction

Relevant characteristics of the EEG signal are extracted.

Examples include:

- Frequency-band power

- Event-Related Potentials (such as the P300)

- Time–frequency features

- Spatial features

### Step 4 – Classification

Machine learning algorithms analyse the extracted features and identify the user's intended action.

### Step 5 – Device Control

The classified output is converted into commands that control an external device.

(Insert Figure 7.4: EEG-Based Brain–Computer Interface Pipeline showing Signal Acquisition → Preprocessing → Feature Extraction → Classification → Device Control.)

# Role of Signal Processing

Signal processing is the foundation of every EEG-based BCI.

Without appropriate processing, the recorded EEG signal contains too much variability and noise for reliable interpretation.

Several techniques introduced earlier in this course are commonly used.

### Filtering

Removes electrical interference and physiological artefacts.

### Spectral Analysis

Measures changes in EEG frequency bands associated with different mental states.

### Time–Frequency Analysis

STFT and wavelet analysis help identify transient neural activity.

### Feature Extraction

Transforms raw EEG into informative numerical features suitable for classification.

### Machine Learning

Classification algorithms recognise patterns in EEG activity and convert them into control commands.

Together, these stages transform raw neural signals into meaningful actions.

# Applications of EEG-Based BCIs

EEG-based BCIs are being developed for a wide range of applications.

### Assistive Communication

BCIs enable individuals with severe motor impairments to communicate using brain activity alone.

### Wheelchair Control

Users can control powered wheelchairs through EEG-based commands.

### Prosthetic Device Control

Brain signals can be used to operate robotic arms or prosthetic limbs.

### Neurorehabilitation

BCIs support rehabilitation by providing feedback during motor recovery following neurological injury.

### Research and Human–Computer Interaction

EEG-based BCIs are increasingly used to study human cognition and develop new forms of interaction between humans and computers.

# Advantages of EEG-Based BCIs

EEG offers several advantages for Brain–Computer Interfaces.

- Non-invasive recording.

- Excellent temporal resolution.

- Portable and relatively inexpensive systems.

- Suitable for real-time signal processing.

- Supports continuous monitoring of brain activity.

# Challenges

Although EEG-based BCIs have made significant progress, several challenges remain.

- EEG signals are weak and easily affected by noise.

- Brain activity varies between individuals.

- Long recording sessions may cause user fatigue.

- Accurate classification requires robust signal-processing and machine-learning algorithms.

These challenges continue to drive research into more reliable and efficient BCI systems.

### Important Note

A Brain–Computer Interface does not read thoughts.

Instead, it identifies specific, measurable patterns of brain activity and converts those patterns into predefined control commands.

The performance of a BCI depends on the quality of signal acquisition, signal processing, feature extraction, and classification.

# Summary

In this section, we explored one of the fastest-growing applications of EEG—Brain–Computer Interfaces.

We learned that EEG-based BCIs establish a direct communication pathway between the brain and external devices by combining neural signal acquisition with signal processing, feature extraction, and machine learning.

These systems have important applications in assistive communication, rehabilitation, prosthetic control, and neuroscience research.

# Section 7.1 Recap

In this section, we examined four major applications of EEG in neuroscience and clinical practice.

We learned that EEG is used to:

- Study brain states by analysing changes in neural rhythms.

- Perform sleep staging by identifying characteristic EEG patterns during different stages of sleep.

- Detect and monitor epilepsy by identifying abnormal electrical activity associated with seizures.

- Develop Brain–Computer Interfaces (BCIs) that translate brain activity into commands for external devices.

Although these applications address different problems, they all rely on the same neural signal-processing principles introduced throughout this course, including filtering, spectral analysis, time–frequency analysis, feature extraction, and classification.